[image: image1.png]WEDECO
a xylem brand





Ozone – Beverage Industrie
For planning and quoting
      To switch between the description fields please type „Tab“

 FORMCHECKBOX 
 The checkboxes can be activated by clicking. 


	Project Name:
	     
	Country:      


	Company:
	     
	Contact:
	     

	Address:
	     
	Phone:
	     

	Postcode / City:
	     
	Fax:
	     

	E-mail:
	     
	E-mail:
	     

	Department:
	     
	
	     


Water Characteristics:








 FORMCHECKBOX 
 Groundwater

 FORMCHECKBOX 
 Surface Water (Lake / River)




 FORMCHECKBOX 
 Other      
Water Treatment: 





 FORMCHECKBOX 
 Filtration ____________________






 FORMCHECKBOX 
 Activated carbon filtration

 FORMCHECKBOX 
 Reverse Osmosis




 FORMCHECKBOX 
 Addition of Chemicals: ________________________
Water Analysis (of water to be ozonated):

	 FORMCHECKBOX 

	pH-Value
	     
	
	 FORMCHECKBOX 

	Manganese
	     
	mg/l

	 FORMCHECKBOX 

	DOC
	     
	mg/l
	
	Water temperature
	min:       
max:      
	°C
°C

	 FORMCHECKBOX 

	TOC
	     
	mg/l
	 FORMCHECKBOX 

	Nitrite
	     
	mg/l

	 FORMCHECKBOX 

	Iron
	     
	mg/l
	 FORMCHECKBOX 

	Conductivity
	     
	µS/m


Application for Ozone:

	 FORMCHECKBOX 
 Rinser
	      FORMCHECKBOX 
 Product Water      


  FORMCHECKBOX 
 Drinking Water / Mineral Water
  FORMCHECKBOX 
 Removal of Iron and Managenese
Ozone Conzentration in Water from____ mg / l to ___ mg / l

 FORMCHECKBOX 
 Rinser 


        FORMCHECKBOX 
 Bottle washing machine 
   FORMCHECKBOX 
 inside bottle
Water supply:

	Flow rate max.
	     
	m3/hr

	Flow rate medium
	     
	m3/hr

	Flow rate min.
	     
	m3/hr

	Flowrate constantly
	yes  FORMCHECKBOX 

	no  FORMCHECKBOX 



	Automatic control system depending on flow rate and ozone concentration
	yes  FORMCHECKBOX 

	no  FORMCHECKBOX 



Special requirements for control system:
	     

	     

	     


Remarks / Sketch:

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	


Ambient conditions
	Temperature
	     
	°C

	Humidity
	     
	%


Reaction – and Degassing Tank:
	Provided by customer
	 FORMCHECKBOX 
 yes
	
	 FORMCHECKBOX 
 no
	
	


Contact time / reaction time




[image: image1.png]
	Offer for installation, comissioning & training
	yes  FORMCHECKBOX 

	no  FORMCHECKBOX 



Special requirements / Specifications / Others:
	     

	     

	     

	     

	     


_____________________________


_____________________________

Date







Signature
[image: image2.jpg]V-
Cerr

DIN EN ISO 9001
DIN EN iSO 14001





01_Questionnaire Ozone_ Beverage.doc
-Vol. I -

Subject to change without notice.
1/3

