[image: image1.png]WEDECO
a xylem brand





PROCESS WATER TREATMENT WITH OZONE
For planning and quoting

      To switch between the description fields please type „Tab“

 FORMCHECKBOX 
 The checkboxes can be activated by clicking. 


	Customer:      
	

	
	

	Contact person:      
	

	Plant manager: 
	phone: 
fax: 

	Mechanical manager:      
	phone:      
fax:      

	Electrical manager:      
	phone:      
fax:      

	System parameters


	
	Unit
	Production loop
	Pilot loop

	Flow rate, max.
	m³/h
	     
	     

	Buffer tank
	m³
	     
	     

	Process water pipe length
	m
	     
	     

	System pressure p
	bar g
	     
	     

	Process water temperature
	°C
	     
	     

	Process water quality
	
	 FORMCHECKBOX 
 Demin./ 
 FORMCHECKBOX 
 City water
	 FORMCHECKBOX 
Demin./ 
 FORMCHECKBOX 
 City water

	Chloride, max.
	mg/l
	     
	     

	Pipe material of process loop
	
	     
	     

	Cooling water meets specification*
	
	yes  FORMCHECKBOX 
 
no  FORMCHECKBOX 

	yes  FORMCHECKBOX 
 
no  FORMCHECKBOX 


	Cooling water temperature, max.
	°C
	     
	     

	Offgas flow, max.** 
	Xm³/h
	     
	     

	Power supply
	V/Hz
	     
	     

	Netform (TN-C or TN-S is recommended)
	
	     
	     

	Available location
	
	     
	     

	Ambient air temperature, max.
	°C
	     
	     

	
	Unit
	Production loop
	Pilot loop

	Humidity, relative
	%
	     
	     

	Altitude, above sea level
	m
	     
	     


*Cooling water specification for the ozone generator

The cooling water must be free of undissolved and aggressive components. Rust and iron particles may not enter into the ozone generator. Further conditions:

· Iron
under 
0.30
mg/l

· Manganese
under 
0.05
mg/l

· Chlorides
under 
100.00 
mg/l

**Should include the max. gas flow that occurs during filling or emptying of buffer tank.

Special requirements / Specifications / Others:

	     

	     

	     

	     

	     


_____________________________


_____________________________

Date







Signature

[image: image1.png]
01_Questionnaire Process Water.doc
-Vol. I -

Subject to change without notice.
1/2

[image: image2.jpg]V-
Cerr

DIN EN ISO 9001
DIN EN iSO 14001




