


[image: image2.png]WEDECO
a xylem brand







[image: image1.png]WEDECO
a xylem brand




Questionnaire - Ozone
[image: image1.png]
Questionnaire - Ozone

For Planning – Quoting – Drinking water treatment
Contact details WEDECO Partner:

	Date of visit / phone call / 
inquiry:
	

	Company:
	

	Contact:
	

	Phone:
	

	Fax: 
	

	Email
	

	Remarks:
	


Contact details End Customer:

	Company:
	

	Street:
	

	Zip Code and City:
	

	Contact:
	

	Phone:
	

	Fax: 
	

	Email
	

	Remarks:
	


General Project Information
	State of project 
	 FORMCHECKBOX 
 Feasibility Study     FORMCHECKBOX 
 Primary Design     FORMCHECKBOX 
 Detailed Design     FORMCHECKBOX 
 Bidding   

	Estimated Bidding time:
	

	

	Pre-Ozonation
	 FORMCHECKBOX 
 Yes      FORMCHECKBOX 
   No

	Flow to be treated (m3/h):
	

	Ozone dose (g/m3):
	

	Main-Ozonation
	 FORMCHECKBOX 
 Yes      FORMCHECKBOX 
   No

	Flow to be treated (m3/h):
	

	Ozone dose (g/m3):
	

	

	Total ozone capacity (kg/h) required:
	

	Number of ozone generators on duty:
	
	Number of units for backup:
	


Ambient conditions:

	Ambient temperature (°C)
	

	Humidity (%)
	


 System features
Feedgas supply:

	Feedgas:
	 FORMCHECKBOX 
    AIR  FORMCHECKBOX 
 LOX     FORMCHECKBOX 
 PSA    Purity(%)

	Feedgas system included in WEDECO scope
	 FORMCHECKBOX 
 Yes      FORMCHECKBOX 
   No


Introduction system pre-ozonation:

	Introduction system included in WEDECO scope
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No

	Type of introduction system:
	 FORMCHECKBOX 
 diffusion system            FORMCHECKBOX 
 venturi injection            FORMCHECKBOX 
 static mixer

Other:

	Total number of contact tanks
	

	Total number of lines per contact tank
	

	In case of diffusion system, please fill:

	Number of ozonated cells per contact tank
	

	Total number of ozonated cells equipped with diffusors
	

	Total number of safety valves
	


Introduction system main ozonation:

	Introduction system included in WEDECO scope
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No

	Type of introduction system:
	 FORMCHECKBOX 
 diffusion system            FORMCHECKBOX 
 venturi injection            FORMCHECKBOX 
 static mixer

Other:

	Total number of contact tanks
	

	Number of lines per contact tank
	

	In case of diffusion system, please fill:

	Number of ozonated cells per contact tank
	

	Total number of ozonated cells equipped with diffusors
	

	Total number of safety valves
	
	Automatic:  FORMCHECKBOX 
 Yes    FORMCHECKBOX 
 No

	
	
	


Please refer to enclosed example for contacting system!

Cooling water supply:

	Cooling water available
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No

	Max. cooling water temperature (°C)
	

	Cooling water decoupling (closed loop cooling water circuit)
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No


Residual ozone destructor:

	Type of COD
	 FORMCHECKBOX 
 catalytic     FORMCHECKBOX 
 thermal

	Total no. of COD(pre-ozonation)
	

	Total no. of COD(main ozonation)
	

	Number of units for backup:
	

	Fan:
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No

	Demister:
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No


Measurement equipment:






Quantity:
	Ozone concentration in product gas:
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No
	

	Ozone concentration in water:
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No
	

	Ozone concentration in offgas (before COD)
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No
	

	Ozone concentration in exhaust gas (after COD)
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No
	

	Dew point measurement
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No
	

	Others:
	
	


Additional equipment:

	Please indicate:
	


Futher details
	Pre-treamtent steps:
	

	Subsequent steps:
	

	Origin of the water:
	

	Sample available:
	 FORMCHECKBOX 
 Yes         FORMCHECKBOX 
 No


Water Analysis
Please fill or attach!

	Parameter
	Unit
	Water quality inlet 
	Treatment goal

	COD
	mg/l
	
	

	TSS
	mg/l
	
	

	DOC
	mg/l
	
	

	Iron
	mg/l
	
	

	Manganese
	mg/l
	
	

	Total Coliforms
	CFU
	
	

	Faecal Coliform
	CFU
	
	

	Colour
	
	
	

	chloride
	mg/l
	
	

	pH-value
	-
	
	

	Conductivity
	µs/cm
	
	

	Temperature
	° C
	
	


	Further parameters
	Unit
	Water quality inlet 
	Treatment goal

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Remarks / sketch:

[image: image2.png]
[image: image3]
	Date:


	Signature:
	


[image: image4.jpg]rngineered for life













[image: image5.png]WEDECO
a xylem brand



[image: image6.png]EXAMPLE: MULTILINE CONTACTING SYSTEM
3 OZONATED CELLS
INLET L 1 ‘ ENT
I [% E I% 1 w1 i __ EFRLU
3 o i
OZONE CONTACT TANK 1 =4 : ?bm It
ot o '
INET o i = EFFLUENT
E2 EE oL i
DZONATED CELL
INLET 1 ‘ H T
o = E;;E % § w2 0 __ EFFLUEN
)
OZONE CONTACT TANK 7 =i : %‘
iz = : i
INET : = EFFLUENT
ez Eg o/





[image: image3]
[image: image4.jpg]
For further information please contact:

Xylem Water Solutions Herford GmbH · Boschstr. 4 – 14 · D-32051 Herford · Germany

phone 0049 5221 930 - 0 · fax 0049 5221 930 – 222
www.xyleminc.com · wedeco.de@xyleminc.com


[image: image7.jpg]


[image: image8.jpg]V=L J)={



